**Room Functionality**

**Terminal Layouts.**

Decided to go from 2 to 3 terminal

Each terminal has access to 4 screens (changed from the smaller screens, cost etc.)

Main Screen bank is the main street scene but can be re-arranged

Operator desk can go from 4 screens to 6 by twisting

Desk, Viewing angles as per UK standards

Back-up power PC (end machine)

**Security and safety**

2 ID security (card and PIN)

Fire regulation doors with Visibility panels

CCTV camera monitoring the room

Fire alarm zones in each room

**Environment**

Heat exchange system with Comm’s room, heating up fresh air pumped in from outside.

Electric heater 400 Watt with motion detector to turn off

Lighting is device controlled. Blue light takes out the glare of Televisions

Desk LED lights for additional lighting

Black out blinds; the window gives the feeling that you are not trapped in. Important when we switched design

**Build**

All cable management hidden, cable redundancy

**Communication**

Wireless internet

Internet available on the PCs

Police radio, cable wired to the 4th floor of Shaws Brow

**Business continuity**

Emergency Battery power for:-

* + Lighting
  + Door Access
  + Core recording equipment
  + Police Radio
  + Current load, power back-up for 10 hours (remember it will generally be viewing)

Current environment with 2 screens and one PC can stay up for 10hours

Equipment and additional Facility

Chairs 24/7